## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
-5.9
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup mass | sample +cup | sample mass | sample #
4 | 57.72 | 173.16 | 167.26 |  | 97.5659 |  | 0.02 | mL |  |  | SAC-1 | 7.279 | 58.303 | 51.024 | 1
7 |  | 0 | -5.9 |  |  |  | 0.4 | 0.05 | 0.02 |  | BAY-STD-1 | 7.305 | 58.677 | 51.372 | 2
10 |  | -173.16 | -179.06 | [7 empty] | SAC-2 | 7.295 | 58.814 | 51.519 | 3
3.5 |  | 202.02 | 196.12 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | P-0084-1 | 7.28 | 58.83 | 51.55 | 4
3 |  | 230.88 | 224.98 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | P-0084-2 | 7.3 | 57.748 | 50.448 | 5
3.7 |  | 190.476 | 184.576 | Enter This value to end first titration, round down to next mV
2.8 |  | 242.424 | 236.524 | Enter This value to end gran titration, round up to next mV

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SAC-1 | 51.024 | 27.5 | 25 | -5.9 | 7 | 196.12 | 224.98
BAY-STD-1 | 51.372 | 27.53 | 11.92 | -5.9 | 7 | 196.12 | 224.98
SAC-2 | 51.519 | 30 | 25 | -5.9 | 7 | 196.12 | 224.98
P-0084-1 | 51.55 | 29.8 | 12 | -5.9 | 7 | 196.12 | 224.98
P-0084-2 | 50.448 | 29.8 | 12 | -5.9 | 7 | 196.12 | 224.98