## pH to mV from calibration
Nernst Slope at 25degC with offsets
pH | mV from calibration | "+25mV" | "-25mV"
4 | 177.48 | 202.48 | 152.48 |  | slope1 | -59.16 | slope1% | 100 |  | acceptable probe offset from 0mV at pH7
7 | 0 | 25 | -25 |  | slope2 | -59.16 | slope2% | 100 |  | "+- 25 mV"
10 | -177.48 | -152.48 | -202.48
3 | 236.64 | 261.64 | 211.64 | [6 empty] | acceptable slope offset
3.5 | 207.06 | 232.06 | 182.06 | [6 empty] | 85-105%
Use calibration generated slope to calculate mV
Enter from calibration
|  | no offset at pH7 | offset at pH 7
-5.3
pH | slope | mV | mV |  | slope% |  | dispense increment Volume |  |  |  | sample id | cup # | cup mass | sample +cup | sample mass | sample #
4 | 57.41 | 172.23 | 166.93 |  | 97.0419 |  | 0.02 | mL |  |  | SAC-1 | 5 | 7.292 | 58.51 | 51.218 | 1
7 |  | 0 | -5.3 |  |  |  | 0.4 | 0.05 | 0.02 |  | DIC-CRM-1 | 6 | 7.268 | 61.698 | 54.43 | 2
10 |  | -172.23 | -177.53 | [7 empty] | DIC-CRM-2 | 7 | 7.293 | 62.717 | 55.424 | 3
3.5 |  | 200.935 | 195.635 | Gran titration "upper bound" aka Ehigh |  |  | first aliquot |  |  |  | DIC-CRM-3 | 8 | 7.294 | 61.333 | 54.039 | 4
3 |  | 229.64 | 224.34 | Gran titration "lower bound" aka Elow |  |  | 1.2 | mL |  |  | SAC-2 | 9 | 7.293 | 58.152 | 50.859 | 5
3.7 |  | 189.453 | 184.153 | Enter This value to end first titration, round down to next mV | [6 empty] | BAYSTD1-1 | 10 | 7.299 | 57.561 | 50.262 | 6
2.8 |  | 241.122 | 235.822 | Enter This value to end gran titration, round up to next mV | [6 empty] | BAYSTD1-2 | 11 | 7.264 | 58.078 | 50.814 | 7
[11 empty] | BAYSTD1-3 | 12 | 7.291 | 58.347 | 51.056 | 8
[11 empty] | SAC-3 | 13 | 7.286 | 58.689 | 51.403 | 9
[11 empty] | BAYSTD2-1 | 14 | 7.295 | 58.803 | 51.508 | 10
[11 empty] | BAYSTD2-2 | 15 | 7.276 | 60.187 | 52.911 | 11
[11 empty] | BAYSTD2-3 | 16 | 7.295 | 62.988 | 55.693 | 12

## sample metadata
sample id | sample mass | salinity | in situ temperature | ETris | pHTris | EHigh | ELow
SAC-1 | 51.218 | 33.5 | 25 | -5.3 | 7 | 195.635 | 224.34
DIC-CRM-1 | 54.43 | 33.525 | 25 | -5.3 | 7 | 195.635 | 224.34
DIC-CRM-2 | 55.424 | 33.525 | 25 | -5.3 | 7 | 195.635 | 224.34
DIC-CRM-3 | 54.039 | 33.525 | 25 | -5.3 | 7 | 195.635 | 224.34
SAC-2 | 50.859 | 27.5 | 25 | -5.3 | 7 | 195.635 | 224.34
BAYSTD1-1 | 50.262 | 27.5 | 11.2 | -5.3 | 7 | 195.635 | 224.34
BAYSTD1-2 | 50.814 | 27.5 | 11.2 | -5.3 | 7 | 195.635 | 224.34
BAYSTD1-3 | 51.056 | 27.5 | 11.2 | -5.3 | 7 | 195.635 | 224.34
SAC-3 | 51.403 | 30 | 25 | -5.3 | 7 | 195.635 | 224.34
BAYSTD2-1 | 51.508 | 30.34 | 14.11 | -5.3 | 7 | 195.635 | 224.34
BAYSTD2-2 | 52.911 | 30.34 | 14.11 | -5.3 | 7 | 195.635 | 224.34
BAYSTD2-3 | 55.693 | 30.34 | 14.11 | -5.3 | 7 | 195.635 | 224.34